## Sheet1
ELECTRIC ACTUATOR QUESTIONNARIE
ITEM No: | [14 empty] | Quantity pieces
2 | GENERAL NOTIONS | [7 empty] | 35 | ELECTRICAL CHARACTERISTICS
3 | STANDARDS: | [7 empty] | 36 | DESIGN VOLTAGE V Hz
4 | CODES: | [7 empty] | 37 | RATED POWER kW
5 | INSTALLATION: INDOORS OUTDOORS | [7 empty] | 38 | SYNCHRONOUS SPEED MOTOR RPM
б | AMBIENT Temperature: HUMIDITY: | [7 empty] | 39 | CURRENT | STARTING A; AVERAGE A
7 | ATMOSPHERE |  |  | CORROSIVE NATURE |  |  |  |  | 40 |  | RATED A
8 |  |  |  | HAZARDOUS NATURE |  |  |  |  | 41 | MOTOR INSULATION CLASS:
9 | DIVISION AREA: | [7 empty] | 42 | OPERATION |  |  | ON-OFF
10 | EXPLOSIVE MIXTURE: CATEGORY SELF-IGNITION: | [7 empty] | 43 |  |  |  | REGULATION
11 | VALVE | [7 empty] | 44 | WIRING DIAGRAM:
12 | SPECIFICATION No.: | [7 empty] | 45 | ADDITIONAL EQUIPMENT
13 | CLOSING DIRECTION: CW CCW | [7 empty] | 46 | INTEGRAL STARTER YES NO
14 | OPERATING TIME: | [7 empty] | 47 | MOTOR THERMAL PROTECTION YES NO
15 | CONNECTIONS | [7 empty] | 48 | TORQUE LIMITING SWITCHES YES NO
16 | ТУРЕ | CABLE GLAND: Ехd Exe | [6 empty] | 49 | INTERMEDIATE POSTION RELAY YES NO
17 |  | METALL |  |  |  | NON-METAL |  |  | 50 | POSITION CONTROL RELAY YES NO
18 | CABLES |  | SECTION |  | TYPE |  |  | DIAMETER | 51 | LOCAL CONTROL DEVICE |  | PUSH-BUTTONS OPEN /STOP/ CLOSING
19 | POWER | [7 empty] | 52 |  |  | CONTROL SELECTOR LOC/STOP/REMOTE
20 | HEATING | [7 empty] | 53 | ANALOG SIGNAL REMOTE PROPORTIONAL CONTROL UNIT |  |  |  | OF CURRENT mA
21 | CONTROL | [7 empty] | 54
OF VOLTAGE mA
22 | SIGNALLING | [7 empty] | 55
23 | ACTUATOR | [7 empty] | 56 | REMOTE POSITION INDICATION BY |  |  |  | POTENTIOMETER V
24 | MANUFACTURER: | [7 empty] | 57
CONVERTER mA
25 | MODEL: | [7 empty] | 58
26 | EXPLOSION PROTECTION TYPE: | [7 empty] | 59 | SPACE HEATER YES NO
27 | EXPLOSION-PROTECTION IDENTIFICATION MARKING: | [7 empty] | 60 |  |  |  | AVAILABLE LIMIT SWITCHES QUANTITY FOR VALVE
28 | IP PROTECTION: | [7 empty] | 61
29 | CONFORMITY CERTIFICATE: | [7 empty] | 62 |  |  |  | OPENED |  | TORQUE LIMIT | CLOSED
30 | MECHANICAL CHARACTERISTICS | [7 empty] | 63 | SWITCH OPENED
31 | TORQUE | RATED |  |  | SOATING |  | STARTING |  | 64 | SWTCH CLOSED
32 |  | Nm |  |  | Nm |  | Nm |  | 65 | INDICATOR LIGHTS |  |  |  |  | CLOSE /OPEN/FAULT
33 | WEIGHT Kg |  |  |  | NOISE LEVEL dBA |  |  |  | 66 | EXTERNAL CONTROL SUPPLY YES NO
34 | NOTES: